DONALD E. PETERS

DETERMINATION

Mr. Foss moved, seconded by Mr. Thorp, that the area variance requested by Mr. Donald E. Peters, 647 Cheese Factory Road, Honeoye Falls, New York, 14472, to erect a retractable tower, for ham radio use, with a maximum height of 55 feet in an RA-1 zone, with a code maximum height for any structure of 30 feet, be granted based on the following Findings of Fact and Conclusions of Law, and subject to the stated conditions.  The property tax account number is 223.01-01-03.11.

FINDINGS OF FACT

1.
The retracted height of the proposed tower is 22.5 feet.  Retraction is electrically controlled.  The tower can be lowered by remote control from the house, when not in use.

2.
The proposed site for the tower, as indicated on the applicant’s site plan, will be 123.5 feet from the nearest property line.  It would be constructed near the southeast corner of the 2-story barn behind the home on a 4-foot x 4-foot concrete foundation 6 feet deep.  It will be screened from the east and south property lines, and passing traffic, by large, mature existing trees.

3.
The proposed tower site is over 500 feet from the rear property line.  The Holly Hill Tree Farm adjoins the property on the west, 140+ feet from the proposed site, and also is screened by mature trees.

4.
The tower, constructed of galvanized steel, would be connected to equipment in the house by an underground cable.  The longer the cable connection from the tower to the equipment, the greater the signal loss.

5.
The applicant explained that the proposed tower would have a directional antenna, replacing his current vertical antenna, giving him improved reception.  

6.
The applicant stated he has filter equipment so he creates no interference problems with neighboring telephone and television signals.  Also, the possibility of interference is limited to older televisions and telephone equipment.  The FCC is responsible for surveillance of amateur (hobby) radio activity.  There have been no complaints since he began broadcasting a year ago.

7.
The proposed location is far enough from the hill to the west and close enough to the house for adequate reception by the equipment in the house, and screened from traffic and the adjacent neighbors by the house, the barn, and mature trees.

8.
No one talked to the applicant directly, or appeared in opposition to the applicant’s request for this variance.  There are few neighbors.  The property is 4.87 acres.

9.
When extended, the tower, at 55 feet, would exceed the maximum permitted height by 83.3%.  It would be only 22.5 feet high when lowered.  

10.
There would be no discernable noise, odor, pollution, traffic or other intrusions upon the neighborhood if the tower were permitted.  If it should fall, for any reason, it would fall entirely on the applicant’s property.

11.
The property is located adjacent to a farm.

CONCLUSIONS OF LAW

1.
The proposed tower will not result in an undesirable change in the neighborhood.

2.
The applicant’s request is a self-created difficulty.

3.
The degree of variance when the tower is raised is very significant, and within code requirements when lowered.

4.
Alternate locations would not result in a better situation.  The proposed location is very well screened from the neighborhood, and answers all other site requirements.

5.
There will be no adverse physical or environmental effects upon the neighborhood.

6.
This is a Type II action under SEQR.

7.
There will be no adverse effect upon adjacent or nearby farmland.

8.
The benefit to the applicant outweighs any potential detriment to the health, safety and welfare of the community that might result from approval of the requested variance.  

CONDITIONS

1.
The tower will be sited as specified on the plans submitted with the application.

2.
The tower will be constructed according to the manufacturer’s model number HDX555 design and specifications submitted with the application.

3.
The tower shall be retracted when not in use.

4.
The applicant shall abide by FCC regulations.

5.
Modification of the galvanized finish will require permission from the Zoning Board of Appeals

ADOPTED

Ayes 4, Nays 0.

(Mr. Ricci – asbent)

2
3

